{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":61,"n_cols":5,"rows_kept":61,"merged":[[0,0,1,4]],"flags":["formulas_cached_only"]}
["盐边县水利局“双随机、一公开”随机抽查情况统计表(三季度）"]
[]
["序号","被检查单位","抽查事项名称","检查时间","检查情况"]
["一","水库工程"]
[1,"蚂蝗沟水库","水利工程检查","2020.7.16","内外坝体杂草，坝体排水沟的杂木，库区内的垃圾"]
[2,"胡家沟水库","水利工程检查","2020.7.16","暂未发现"]
[3,"岩羊桥水库","水利工程检查","2020.7.16","坝顶、后坝杂草，溢洪道有垃圾"]
[4,"扎巴箐水库","水利工程检查","2020.7.16","前后坝体有垃圾、杂草"]
[5,"昔格达水库","水利工程检查","2020.7.16","施工安全"]
[6,"长冲箐水库","水利工程检查","2020.7.16","暂未发现"]
[7,"中心水库","水利工程检查","2020.7.16","暂未发现"]
[8,"富民水库","水利工程检查","2020.7.16","坝顶、后坝杂草，溢洪道有垃圾，冲砂闸无法启动"]
[9,"攀枝花水库","水利工程检查","2020.7.17","前后坝体杂草，溢洪道泥沙淤积"]
[10,"新安水库","水利工程检查","2020.7.17","前后坝体杂草，溢洪道泥沙淤积"]
[11,"高堰沟水库","水利工程检查","2020.7.17","前后坝体杂草，溢洪道泥沙淤积"]
[12,"冷水箐水库","水利工程检查","2020.7.17","坝面有杂草"]
[13,"王家沟水库","水利工程检查","2020.7.17","前后坝体杂草，溢洪道泥沙淤积"]
[14,"热水塘水库","水利工程检查","2020.8.10","库内淤积严重，放水涵洞堵塞"]
[15,"高堰沟水库","水利工程检查","2020.8.10","暂未发现"]
[16,"干沟水库","水利工程检查","2020.8.13","暂未发现"]
[17,"偏路水库","水利工程检查","2020.8.10","暂未发现"]
[18,"蚂蝗沟水库","水利工程检查","2020.8.14","暂未发现"]
[19,"长冲箐水库","水利工程检查","2020.8.14","暂未发现"]
[20,"拱桥水库","水利工程检查","2020.8.14","暂未发现"]
[21,"纸房水库","水利工程检查","2020.8.14","暂未发现"]
[22,"富民水库","水利工程检查","2020.8.14","暂未发现"]
[23,"回帮箐水库","水利工程检查","2020.8.24","加起三查、三避让工作，加强值班值守，落实五个责任公示"]
[24,"坝塘水库","水利工程检查","2020.8.24","加起三查、三避让工作，加强值班值守，落实五个责任公示"]
[25,"滑嘴沟水库","水利工程检查","2020.8.24","加起三查、三避让工作，加强值班值守，落实五个责任公司"]
[26,"河尾子水库","水利工程检查","2020.8.24","加起三查、三避让工作，加强值班值守，落实五个责任公司"]
[27,"干箐水库","水利工程检查","2020.8.24","加起三查、三避让工作，加强值班值守，落实五个责任公司"]
["二","水土保持"]
[1,"攀枝花宏义投资有限公司","水土保持检查","2020.7.8","催缴水土保持补偿费，完成水保持设施验收并报备"]
[2,"得天矿业有限公司","水土保持检查","2020.9.10","清理排洪沟、加快完成水保设施落实，完成验收及报备"]
["三","河道管理"]
[1,"岔河砂场","河湖检查","2020.7.16","加强监管、注意监测"]
[2,"三源河",null,"2020.7.14","立即清除河岸上的垃圾"]
[3,"永兴河",null,"2020.7.14","立即清除河岸上的垃圾、树立告示牌，加强日常河道巡查监管"]
[]
[]
[]
[]
["二"]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}